GHANSHYAM ELECTRICALS

441-The Galleria, Yogi Chowk, Surat, Gujarat - 395006

Mobile: +91 92655-60638   |   Email: ghanshyamelectricals101@gmail.com

ELECTRICAL WORKS QUOTATION

Prepared from the approved electrical layout drawings (Ceiling Plan, Light Dimension Layout & Electric Wiring Layout)

| Project | JANKI HEIGHT’S, B-Building, 9th Floor, Flat No. 901 | Client Name | ________________________ |
| --- | --- | --- | --- |
| Scope | Interior Electrical Works – Flat 901 (as per drawing) | Contact No. | ________________________ |
| Drawing Ref. | BULD-B 901_JANKI HEIGHTS_electric plan.dwg | Site Address | ________________________ |
| Quotation No. | GE-874 (Rev. 1) ¦ Date: 15/08/2026 ¦ Valid: 10 days | Ceiling Area | 458.64 sq.ft + 46.79 sq.ft (toilet) |

Note: This quotation is prepared after a systematic reading of the client-supplied electrical layout. The drawing contains three sheets of Flat 901 – (1) Ceiling Plan (light/fan/exhaust/geyser points), (2) Light Dimension Layout (same ceiling scope, dimensioned), and (3) Electric Wiring Layout (switch boards, plug points, A.C. points and circuit annotations). Quantities below are counted point-by-point from these sheets.

1. ELECTRICAL LAYOUT – ROOM-WISE POINT SCHEDULE (FLAT 901)

Summary of every electrical point counted from the drawing, room by room:

| Room | Ceiling Light | Fan | Wall Light | Stripe Light | 5A Socket | 15A Point | Switch Board | Geyser | Exhaust | Others |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Living | 4 | 2 | 1 | 1 | – | – | – | – | – | Pooja light – 1, A.C. O.D.U. – 1 |
| Kitchen | 6 | 1 | – | – | – | – | 1 | – | – | Chimney – 1, Water filter – 1 |
| Bedroom 1 | 4 | 1 | – | 1 | 3 | 1 | 2* | – | – | Split A.C. point – 1, O.D.U. – 1 |
| Bedroom 2 | 4 | 1 | 1 | 2 | 2 | 1 | 2 | – | – | – |
| A. Toilet | 1 | – | 1 | – | – | – | 3 | 1 | 1 | – |
| C. Toilet | 2 | – | 1 | – | – | 2 | 3 | 1 | 1 | – |
| Passage | 1 | – | – | – | – | – | – | – | – | Bell – 1 |
| Entry | – | – | – | – | – | – | 2 | – | – | – |
| Wash / Utility | – | – | 1 | – | – | 2 | 2 | – | – | Internet point – 1 |
| Store / Utility wall | – | – | – | – | – | – | – | 1 | – | – |
| TOTAL | 22 | 5 | 4 | 4 | 5 | 6 | 15 | 3 | 2 | 9 misc. points |

* Bedroom switch boards include bed-panel boards at 3′-0″ / 2′-6″ height as per the drawing’s switch-board height schedule.

Additional scope noted on the drawing: 2 Nos. A.C. Outdoor Units (living + bedroom, above/below), pooja-light point in living furniture, chimney & water-filter points in kitchen, and one-way / two-way ceiling circuit lines (~99 m drawn length). Ceiling areas: living etc. 458.64 sq.ft + toilet 46.79 sq.ft (total 505.43 sq.ft ≈ 47.0 m²).

2. PRICING – BOQ (QUANTITIES FROM DRAWING, RATES INDICATIVE)

Rates include standard/ISI-marked material and labour. GST extra. Final quantities shall be confirmed on-site before commencement.

| Sr. | Description of Work | Unit | Qty. | Rate – Material + Labour (₹) | Amount (₹) | Labour Only (₹) |
| --- | --- | --- | --- | --- | --- | --- |
| A. Distribution & Panel Work |  |  |  |  |  |  |
| A1 | Distribution Board (SDB) with MCB + RCCB set, supply & installation | Set | 1 | 12,500 | 12,500 | 2,000 |
| A2 | MCB / RCCB fitting & circuit connection | Per pole | 12 | 850 | 10,200 | 150 |
| A3 | Switch board installation & circuit wiring (standard, 4′-6″ height) | Per board | 11 | 1,250 | 13,750 | 450 |
| A4 | Switch board @ 3′-0″ / 2′-6″ (bed panel / geyser boards) | Per board | 4 | 1,250 | 5,000 | 450 |
| A5 | Panel labelling & circuit identification | Lot | 1 | 1,500 | 1,500 | 500 |
| B. Light & Power Wiring |  |  |  |  |  |  |
| B1 | Ceiling light point (false-ceiling / downlight) – concealed wiring | Per point | 22 | 950 | 20,900 | 300 |
| B2 | Wall light point at 7′-0″ | Per point | 4 | 1,100 | 4,400 | 350 |
| B3 | Stripe / profile LED light point | Per point | 4 | 1,300 | 5,200 | 400 |
| B4 | Pooja light point (in furniture) | Per point | 1 | 950 | 950 | 300 |
| B5 | Fan point with regulator connection | Per point | 5 | 1,450 | 7,250 | 400 |
| B6 | 5A socket (plug) point | Per point | 5 | 900 | 4,500 | 300 |
| B7 | 15A power point | Per point | 6 | 1,200 | 7,200 | 350 |
| B8 | Split A.C. point (indoor unit, 4 sq.mm wiring + isolator) | Per point | 2 | 2,600 | 5,200 | 600 |
| B9 | A.C. outdoor unit (O.D.U.) point | Per point | 2 | 1,800 | 3,600 | 450 |
| B10 | Geyser / water heater point | Per point | 3 | 2,100 | 6,300 | 450 |
| B11 | Exhaust fan point | Per point | 2 | 1,200 | 2,400 | 350 |
| B12 | Call bell point | Per point | 1 | 1,100 | 1,100 | 350 |
| B13 | Chimney point | Per point | 1 | 1,800 | 1,800 | 450 |
| B14 | Water filter / RO point | Per point | 1 | 1,100 | 1,100 | 350 |
| C. Cabling & Conduit |  |  |  |  |  |  |
| C1 | Main power cable laying (floor riser to flat DB) | Per meter | 15 | 420 | 6,300 | 80 |
| C2 | Sub-circuit cable laying – 2.5 / 4 sq.mm FR (approx.) | Per meter | 750 | 72 | 54,000 | 20 |
| C3 | ISI concealed conduit fitting & laying (approx.) | Per meter | 700 | 48 | 33,600 | 18 |
| C4 | Junction box / pull box fitting | Per unit | 8 | 250 | 2,000 | 60 |
| C5 | Earthing cable laying & connection | Per meter | 10 | 180 | 1,800 | 30 |
| D. Data & Communication |  |  |  |  |  |  |
| D1 | CAT 6 network cable laying (approx.) | Per meter | 40 | 38 | 1,520 | 12 |
| D2 | Network patch panel / jack installation | Per unit | 1 | 1,200 | 1,200 | 300 |
| G. Special & Miscellaneous |  |  |  |  |  |  |
| G1 | Testing, commissioning & handover | Lump sum | 1 | 4,500 | 4,500 | 1,500 |
| G2 | Any other work as per site requirement | As agreed | – | – | – | – |
|  | GRAND TOTAL |  |  |  | ₹ 219,770 | ₹ 63,710 |

Grand Total – With Material & Labour:  ₹ 219,770   |   Grand Total – Labour Only:  ₹ 63,710

GST @ 18% and any other applicable taxes extra. Rates are indicative market rates for standard/ISI material; contractor’s final rates to apply before issue.

3. ASSUMPTIONS & NOTES ON QUANTITIES

1. Quantities are counted point-by-point from the client-supplied drawing “BULD-B 901_JANKI HEIGHTS_electric plan.dwg” (Ceiling Plan, Light Dimension Layout and Electric Wiring Layout of Flat 901, B-Building, 9th Floor, Janki Height’s).

2. The ceiling plan and light-dimension layout represent the same physical points; they have been counted once (22 ceiling lights, 5 fans, 3 geyser points).

3. Conduit & sub-circuit cable quantities are estimated on a per-point basis (~11–12 m per point) plus ~99 m of one-way/two-way ceiling circuit lines measured on the drawing. Final running-meter quantities to be measured on site.

4. Fire alarm, CCTV, access control, audio-visual and automation items are not shown on this interior electrical drawing and are therefore quoted as “Not Applicable – on request”.

5. Earth pit is assumed existing; if a new pit is required it shall be quoted separately.

6. The drawing is an interior-design-purpose plan (Architects: Ar. Tirth Radadiya / Ar. Raj Modi). Any deviation from the approved layout requires written approval.

4. TERMS & CONDITIONS (CONDENSED – FULL VERSION AS PER GE-874)

Payment: 50% advance before commencement; 25% on 50% work completion; balance 25% within 3 days of completion. 2% per month interest on overdue amounts.

Materials: ISI-marked/standard quality only. Material substitution only with prior written client approval.

Warranty: 1 year on workmanship; material warranty as per manufacturer.

Work hours: Mon–Sat, 9:00 AM–6:00 PM. As-built drawings, test reports and completion certificate on handover.

Confidentiality: All drawings, data and pricing remain confidential under the NDA (valid during project + 2 years thereafter).

Jurisdiction: Indian Electricity Act 2003 / IS / IEC standards; disputes subject to Surat, Gujarat courts.

| Client / Customer Signature: ______________ Name & Date: ______________ | Quotation Accepted (Yes / No): ______________ Date: ______________ | For Ghanshyam Electricals Signature: ______________ Name & Date: ______________ |
| --- | --- | --- |

ANNEXURE A – ELECTRICAL LAYOUT REFERENCE (EXTRACTED FROM CLIENT DWG)

The figure below reproduces the electrical layout of Flat 901 (three sheets + legend) as read from the supplied DWG file.

This document is confidential and intended solely for the named client. Unauthorized reproduction or distribution is strictly prohibited.